Horiba XploRATM INV Raman microscope

Microscope stand: Nikon Eclipse TiU

Stage: motorized with a Okolab UNO PLUS incubation system

Lasers: 532 nm (SS; 100mW)

785 nm (Diode; 90 mW)

NDD set: 100%, 50%, 25%, 10%, 1%, 0.1%

Gratings: 600 gr/mm, 1200 gr/mm, 1800 gr/mm, 2400 gr/mm

EMCCD (TE cooled); 1600 x 200 pixel; fromt illuminated

Objectives (default set):

Plan Fluor EPI  5x/0.15  Dry, WD=23.5 mm   (ZK-5XVIS)

Plan Fluor  10x/0.3  Dry, WD=15.2 mm   (10X-INV-TiU)

CFI Apo Lambda S  40x/1.15  Water, CORR WD=0.6 mm  (ZK-40XLWD IM-W-TiU)

CFI Plan APO  100x/1.4 Oil   WD=0.13 mm  (ZK-100XIM-ÖL-TiU)

+ Objective for Autocalibration (all gratings + all laser lines)